## Sheet1
code_of_account | account_description | total_cost | level | review_status
2 | Plant direct cost | 5060523558.296 | 0 | Updated
21 | Total account 21 cost | 1164427564.3 | 1 | Updated
211 | Site improvements, facilities, land | 32640000 | 2 | Unchanged
212 | Reactor building cost | 761856949.1 | 2 | Unchanged
213 | Turbine building cost | 31920000 | 2 | Unchanged
214 | Reactor maintenance and warm shop buildings cost | 86635071.2 | 2 | Updated
2141 | Reactor maintenance building cost | 50775640.32 | 3 | Unchanged
2142 | Warm shop cost | 35859430.88 | 3 | Unchanged
215 | Tritium building cost | 12432000 | 2 | Unchanged
216 | Electrical equipment building cost | 188621664 | 2 | User Input
217 | Other buildings cost | 50321880 | 2 | Updated
2171 | Additional buildings cost | 15120000 | 3 | Unchanged
2172 | Control room buildings cost | 17640000 | 3 | Unchanged
2173 | Shop and warehouses cost | 9660000 | 3 | Unchanged
2174 | Cryogenic building cost | 7901880 | 3 | Unchanged
22 | Total account 22 cost | 3513724588.601 | 1 | Updated
221 | Total account 221 cost | 688411764.2 | 2 | Updated
2211 | First wall cost | 188733898 | 3 | Unchanged
2212 | Blanket total cost | 390073761.16 | 3 | Updated
2213 | Total shield cost | 71254105.04 | 3 | Updated
2214 | Total support structure cost | 0 | 3 | Unchanged
2215 | Divertor cost | 38350000 | 3 | Unchanged
222 | Total account 222 cost | 1371521467.68 | 2 | Updated
2221 | TF magnet assemblies cost | 798612345.88 | 3 | Updated
2222 | PF magnet assemblies cost | 0 | 3 | Updated
2223 | Vacuum vessel assembly cost | 572909121.8 | 3 | Unchanged
223 | Total account 223 cost | 0 | 2 | Updated
2231 | ECH system cost | 0 | 3 | Unchanged
2232 | Lower hybrid system cost | 0 | 3 | Unchanged
2233 | Neutral beam system cost | 0 | 3 | Unchanged
224 | Total account 224 cost | 76872748.961 | 2 | Updated
2241 | High vacuum pumps cost | 39000000 | 3 | Unchanged
2242 | Backing pumps cost | 14625000 | 3 | Unchanged
2243 | Vacuum duct cost | 5999583.011 | 3 | Unchanged
2244 | Valves cost | 15948165.95 | 3 | Unchanged
2245 | Duct shielding cost | 0 | 3 | Unchanged
2246 | Instrumentation cost | 1300000 | 3 | Unchanged
225 | Total account 225 cost | 208054137.74 | 2 | Updated
2251 | Total, TF coil power costs | 208054137.74 | 3 | Updated
2252 | Total, PF coil power costs | 0 | 3 | Updated
2253 | Total, energy storage cost | 0 | 3 | Unchanged
226 | Total account 226 cost | 333665524.42 | 2 | Updated
2261 | Total, reactor cooling system cost | 136211203.48 | 3 | Updated
2262 | Pumps, piping cost | 16450844.94 | 3 | Unchanged
2263 | Total, cryogenic system cost | 181003476 | 3 | Unchanged
227 | Total account 227 cost | 385198945.6 | 2 | Updated
2271 | Fuelling system cost | 22300000 | 3 | Unchanged
2272 | Fuel processing and purification cost | 136481564.5 | 3 | Unchanged
2273 | Atmospheric recovery systems cost | 110589017.9 | 3 | Unchanged
2274 | Nuclear building ventilation cost | 115828363.2 | 3 | Unchanged
228 | Instrumentation and control cost | 150000000 | 2 | Unchanged
229 | Maintenance equipment cost | 300000000 | 2 | Unchanged
23 | Turbine plant equipment cost | 258472349.8 | 1 | Unchanged
24 | Total account 24 cost | 30514416.065 | 1 | Updated
241 | Switchyard equipment cost | 14444000 | 2 | Unchanged
242 | Transformers cost | 4391499.618 | 2 | Unchanged
243 | Low voltage equipment cost | 5163416.447 | 2 | Unchanged
244 | Diesel backup equipment cost | 5338000 | 2 | Unchanged
245 | Auxiliary facilities cost | 1177500 | 2 | Unchanged
25 | Miscellaneous plant equipment cost | 22125000 | 1 | Unchanged
26 | Heat rejection system cost | 71259639.53 | 1 | Unchanged